## Slide 1: SMARTERISE Phase 1 - Data Analyst Assessment! Energy Consumption Analysis for TPI
By:
GODSPEED OKWUONU

## Slide 2
DATA PREPROCESSING
Loaded CSV Files: Combined 12 company datasets using pandas.
Datetime Conversion: Standardized Datetime columns to datetime format using pandas.
Optimization: Converted Megawatt columns (int64 to int32) for performance, to reduce file size, and exported the CSV files.
Data Loading and Transformation: Imported 12 CSV files into Power Query Editor. Appended tables into 1_TPI_Combined since all the tables have the same structure, unpivoted to long format for analysis.
Disabled Original Tables: Excluded 12 source tables from the report interface for efficiency. Key Point: Unified dataset enables robust YoY MW change analysis.

## Slide 3
DAX MEASURES AND VISUALS
DAX Measures created :
  Avg Daily MW: Average daily consumption per company.
  Avg Hourly MW: Average Hourly.
  Max Hourly MW: Peak hourly demand.
  Total MW: Cumulative consumption.
  YoY MW Change: Year-on-year % change in MW.
Visuals:
  Line Chart: YoY MW change by company/year.
  Bar Charts1: Total MW usage by company/region
  Bar Chart 2: Max Hourly MW usage by company.
  Matrix: Average Hourly usage heatmap by company, indicating average peak time, and regular time

## Slide 4
KEY INSIGHTS:
PJME Leads as the highest consumer of energy, peaking at 62k MW (08-Feb-2006), an hourly average of over 32k MW, and 4.69B MW total, critical for YoY analysis.
AEP and COMED are strong contributors with peaks at 25.70K MW (AEP) and 23.75K MW (COMED), and an hourly average of 15.50k MW(AEP) and 11.42k MW (COMED) is key for capacity planning.
PJM_Load Pre-2002 showed significant consumption (54.03K MW peak) before transitioning, reflecting historical YoY shifts.
We infer that prior to January 2002, PJM_Load was the only distribution company in existence. This is evidence of the fact that regions/companies have evolved over time

## Slide 5
HOURLY PATTERNS:
Peak Hours: Most companies peak between 10:00–22:00 (10:00 AM–10:00 PM), likely due to industrial/commercial activity or cooling/heating demands.
Regular Hours: Nighttime and early morning (0:00–9:00) show lower usage, reflecting reduced activity.
PJM_Load and PJME have the most pronounced peaks, indicating the high energy demand from those companies.

## Slide 6
RECOMMENDATIONS
Prioritize PJME in Capacity Planning: Allocate resources to manage PJME’s 62k MW peaks and 32k MW total, using YoY MW change to forecast demand.
Optimize Peak Hours: Target 10:00–22:00 for efficiency programs (e.g., demand response) to reduce strain, especially for AEP and COMED.
Leverage YoY Insights: Use YoY insights to identify companies with rising consumption (e.g., PJME’s YoY growth) for infrastructure investments.
High-Demand Need: Focus on high-demand companies and hours to drive grid stability and growth.

## Slide 7
Conclusion
PJME leads with 62K MW peaks followed by AEP and COMED, with critical demand from 10:00–22:00. YoY MW change reveals evolving consumption trends, guiding strategic decisions.
By prioritizing PJME and optimizing peak hours, TPI can enhance grid stability and efficiency, Implement recommendations to focus resources, and drive data-driven growth.